In this practice we put all the previous knowledge. In the first step, we need to know the “value accuracy exact”, so, we need two ohmeters for compare them.

Let's measure the resistance with both ohmmeters to see which is the more accurate value, getting the next results:

| Participant | Ohmeter first | Ohmeter second |
| --- | --- | --- |
| Lecture 1 | 0.468 kΩ | 0.472 kΩ |
| Lecture 2 | 0.468 kΩ | 0.471 kΩ |
| Lecture 3 | 0.469 kΩ | 0.469 kΩ |
| Lecture 4 | 0.469 kΩ | 0.468 kΩ |
| Lecture 5 | 0.468 kΩ | 0.468 kΩ |
| Lecture 6 | 0.469 kΩ | 0.468 kΩ |

Watching both results, the second ohmeter is the most accurate for this practice.

Then, we need the average of the two ohmeters so with the next formula  we get the desired value

Xprom= Xin

With the last table we can use this formula, obtain the following results:

Xprom1=0.4685

Xprom2=0.5106

for the calculated values of the residuals we will use the next formula:

∆Xi=| Xi- Xprom |

We use them for the two ohmeter do we have and know this value

| ∆Xi 1 Ohmeter | ∆Xi2 Ohmeter |
| --- | --- |
| 0.0005 | 0.0386 |
| 0.0005 | 0.0396 |
| 0.0005 | 0.0416 |
| 0.0005 | 0.0426 |
| 0.0005 | 0.0426 |
| 0.0005 | 0.0426 |

Then to calculate the absolute residual value we use the next expresión:

r=1n ∆Xi

Replacing the values of the formula, for the ohmeter first have:

R = 0.0005

And for the second ohmeter have:

R = 0.04126

Now,  with this sets, we can get the “tipic error” at he next form:

σm=1.25 r(n-1)12

Calculate have the next results:

First Ohmeter: 0.0002795

Second Ohmeter: 0.02306

Then, we need to construct the electrical circuit to measure voltaje and amperage

In this circuit we nee done ohmeter and one ammeter to measure this two magnitudes, we must know that an ohmmeter must be in parallel while an ammeter will be in series with the circuit.

Getting the next measured values:

| Voltage | Vr1 (V) | Vr2 (V) | I (A) |
| --- | --- | --- | --- |
| 2 | 1.012 V | 0.992 V | 0.952 mA |
| 4 | 2.019 V | 1.980 V | 1.909 mA |
| 6 | 3.028 V | 2.969 V | 2.832 mA |
| 8 | 4.038 V | 3.959 V | 3.78 mA |
| 10 | 5.047 V | 4.949 V | 4.73 mA |

Using Ohm's law we will determine the value of the resistance, indirectly obtaining the reference voltages from the table previous.

| Voltage | R1 Real value | R2 Real Value | R1 measure value | R2 measure value | % Error R1 | % Error R2 |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | 1 kΩ | 1 kΩ | 1063.025 | 1042.01 | 6.3025% | 4.2 % |
| 4 |  |  | 1057.62 | 1037.19 | 5.762 % | 3.71 % |
| 6 |  |  | 1069.20 | 1048.37 | 6.92 % | 4.837 % |
| 8 |  |  | 1068.25 | 1047.35 | 6.825 % | 4.738 % |
| 10 |  |  | 1067.01 | 1046.30 | 6.701 % | 4.630 % |

Finally finally with the function generator measure the frequency, the peak voltage, the measured frequency, the measured peak voltage, the frequency error and the peak error.

| Real Frequency | Vpp real | Measure frequency | Measure Vpp | % ERROR frequency | % Error Vpp |
| --- | --- | --- | --- | --- | --- |
| 60 Hz | 10.0 V | 59.52 Hz | 10.2 V | 0.8 % | 2 % |